## Backfill Import
Asset ID | Name | System | Class | Asset Nature | Mobility | Asset Category | Region | District | Building | Level | Room/Zone | Location | Manufacturer | Model | Install Date | Expected Lifespan (Years) | Condition | Status | Criticality | Last Service | Next Service Due | Note | Acquisition Cost | Residual Value | Maintenance Interval (Days)
CH-001 | Chiller — Primary | HVAC | Compressor | Tangible | Movable | Plant & Machinery | Dar es Salaam | Ilala | Zanzibar One Tower | B2 | Plant Room B2 | Plant Room B2 | York | YVAA-0540 | 2020-02-10 | 20 | Good | Operational | Critical | 2026-04-22 | 2026-10-22 |  |  | 0 | 90
CH-002 | Chiller — Secondary | HVAC | Compressor | Tangible | Movable | Plant & Machinery | Dar es Salaam | Ilala | Zanzibar One Tower | B2 | Plant Room B2 | Plant Room B2 | York | YVAA-0540 | 2020-02-10 | 20 | Fair | Scheduled Maintenance | Critical | 2026-01-15 | 2026-07-15 | Vibration levels elevated at last inspection |  | 0 | 90
SP-001 | Sump Pump — Basement | Plumbing | Pump | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | B2 | Basement B2 Sump Pit | Basement B2 Sump Pit | Flygt | NP 3102 | 2020-02-01 | 12 | Fair | Scheduled Maintenance | Medium | 2026-01-10 | 2026-07-10 | Float switch intermittent |  | 0 | 90
PK-B2-01 | Parking Barrier — B2 Entry | Parking System | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | B2 | Basement B2 Ramp | Basement B2 Ramp | FAAC | B680H | 2020-06-15 | 10 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CCTV-B2-01 | Parking CCTV Hub — B2 | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | B2 | Basement B2 Parking | Basement B2 Parking | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FP-001 | Fire Pump — Electric Main | Fire Protection | Pump | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | B1 | Plant Room B1 | Plant Room B1 | Grundfos | NKF 150-250 | 2020-01-15 | 20 | Poor | Needs Attention | Critical | 2025-12-20 | 2026-03-20 |  |  | 0 | 90
FP-002 | Fire Pump — Diesel Standby | Fire Protection | Pump | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | B1 | Plant Room B1 | Plant Room B1 | Clarke | JU6H-UF34 | 2020-01-15 | 20 | Poor | Needs Attention | Critical | 2025-12-20 | 2026-03-20 |  |  | 0 | 90
FP-003 | Fire Pump — Jockey | Fire Protection | Pump | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | B1 | Plant Room B1 | Plant Room B1 | Grundfos | CR 15-03 | 2020-01-15 | 15 | Good | Operational | High | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
TX-001 | HV/LV Transformer 1 | Electrical | Boiler | Tangible | Movable | Plant & Machinery | Dar es Salaam | Ilala | Zanzibar One Tower | B1 | Substation B1 | Substation B1 | ABB | RESIBLOC 1600kVA | 2019-11-01 | 30 | Good | Operational | Critical | 2026-03-15 | 2027-03-15 |  |  | 0 | 90
TX-002 | HV/LV Transformer 2 | Electrical | Boiler | Tangible | Movable | Plant & Machinery | Dar es Salaam | Ilala | Zanzibar One Tower | B1 | Substation B1 | Substation B1 | ABB | RESIBLOC 1600kVA | 2019-11-01 | 30 | Good | Operational | Critical | 2026-03-15 | 2027-03-15 |  |  | 0 | 90
SWG-001 | Main LV Switchgear | Electrical | Compressor | Tangible | Movable | Plant & Machinery | Dar es Salaam | Ilala | Zanzibar One Tower | B1 | Substation B1 | Substation B1 | Schneider | Prisma iPM | 2019-11-01 | 25 | Good | Operational | Critical | 2026-03-15 | 2027-03-15 |  |  | 0 | 90
WB-001 | Domestic Water Booster Set | Plumbing | Pump | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | B1 | Plant Room B1 | Plant Room B1 | Wilo | SiBoost 4-HELIX | 2020-05-01 | 15 | Good | Operational | High | 2026-03-22 | 2026-09-22 |  |  | 0 | 90
PK-B1-01 | Parking Barrier — B1 Entry | Parking System | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | B1 | Basement B1 Ramp | Basement B1 Ramp | FAAC | B680H | 2020-06-15 | 10 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
PK-B1-02 | Parking Payment Kiosk | Parking System | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | B1 | Basement B1 Payment Zone | Basement B1 Payment Zone | Skidata | Vario PayStation | 2020-06-15 | 10 | Good | Operational | Low | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
LFT-001 | Passenger Lift 1 | Vertical Transport | Lift / Elevator | Tangible | Movable | Plant & Machinery | Dar es Salaam | Ilala | Zanzibar One Tower | L1 | Main Lobby Core A | Main Lobby Core A | Schindler | 5500 MRL | 2020-04-01 | 25 | Good | Operational | High | 2026-06-14 | 2026-09-14 |  |  | 0 | 90
LFT-002 | Passenger Lift 2 | Vertical Transport | Lift / Elevator | Tangible | Movable | Plant & Machinery | Dar es Salaam | Ilala | Zanzibar One Tower | L1 | Main Lobby Core A | Main Lobby Core A | Schindler | 5500 MRL | 2020-04-01 | 25 | Good | Operational | High | 2026-06-14 | 2026-09-14 |  |  | 0 | 90
LFT-003 | Service/Freight Lift | Vertical Transport | Lift / Elevator | Tangible | Movable | Plant & Machinery | Dar es Salaam | Ilala | Zanzibar One Tower | L1 | Service Core B | Service Core B | Schindler | 2600 Freight | 2020-04-01 | 25 | Good | Operational | Medium | 2026-06-14 | 2026-09-14 |  |  | 0 | 90
UPS-001 | UPS — Comms & Data Room | Electrical | UPS | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L1 | Level 1 Data Room | Level 1 Data Room | Eaton | 93PM 80kW | 2021-04-10 | 10 | Good | Operational | High | 2026-04-20 | 2026-10-20 |  |  | 0 | 90
BMS-001 | BMS Head-End Controller | Controls | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L1 | Level 1 BMS Room | Level 1 BMS Room | Honeywell | WEBs-AX | 2020-06-01 | 10 | Good | Operational | High | 2026-05-05 | 2026-11-05 |  |  | 0 | 90
ACC-L1-01 | Main Entrance Access Control | CCTV & Access Control | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L1 | Level 1 Main Entrance | Level 1 Main Entrance | HID | Signo Reader | 2020-06-15 | 8 | Good | Operational | High | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CCTV-L1-01 | Lobby CCTV Hub | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L1 | Level 1 Lobby | Level 1 Lobby | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | High | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FD-L1-01 | Fire Detection Panel — Main | Fire Detection | Fire Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L1 | Level 1 Fire Control Room | Level 1 Fire Control Room | Advanced | MxPro 5 | 2020-01-15 | 15 | Good | Operational | Critical | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
RTI-L1-01 | Retail Tenant Interface — Lobby Kiosk | Retail Tenant Interface | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L1 | Level 1 Lobby | Level 1 Lobby | GVC Custom | Tenant Portal v1 | 2021-01-10 | 8 | Good | Operational | Low | 2026-03-01 | 2026-09-01 |  |  | 0 | 90
GEN-001 | Standby Generator | Electrical | Generator | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L1 | External Generator Yard | External Generator Yard | Cummins | QSK60-G23 2MW | 2019-12-01 | 25 | Good | Operational | Critical | 2026-06-01 | 2026-12-01 |  |  | 0 | 90
FCU-L2 | Fan Coil Unit — L2 | HVAC | Air Conditioning Unit | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L2 | Retail | Retail | Daikin | FXFQ Series | 2020-03-15 | 15 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CCTV-L2 | CCTV Camera Set — L2 | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L2 | L2 Common Area | L2 Common Area | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FD-L2 | Fire Detection Loop — L2 | Fire Detection | Fire Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L2 | L2 Ceiling Void | L2 Ceiling Void | Advanced | MxPro 5 Loop | 2020-01-15 | 15 | Good | Operational | High | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
RTI-L2 | Retail Tenant Interface — L2 | Retail Tenant Interface | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L2 | L2 Retail Zone | L2 Retail Zone | GVC Custom | Tenant Portal v1 | 2021-01-10 | 8 | Good | Operational | Low | 2026-03-01 | 2026-09-01 |  |  | 0 | 90
FCU-L3 | Fan Coil Unit — L3 | HVAC | Air Conditioning Unit | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L3 | Retail | Retail | Daikin | FXFQ Series | 2020-03-15 | 15 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CCTV-L3 | CCTV Camera Set — L3 | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L3 | L3 Common Area | L3 Common Area | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FD-L3 | Fire Detection Loop — L3 | Fire Detection | Fire Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L3 | L3 Ceiling Void | L3 Ceiling Void | Advanced | MxPro 5 Loop | 2020-01-15 | 15 | Good | Operational | High | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
RTI-L3 | Retail Tenant Interface — L3 | Retail Tenant Interface | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L3 | L3 Retail Zone | L3 Retail Zone | GVC Custom | Tenant Portal v1 | 2021-01-10 | 8 | Good | Operational | Low | 2026-03-01 | 2026-09-01 |  |  | 0 | 90
FCU-L4 | Fan Coil Unit — L4 | HVAC | Air Conditioning Unit | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L4 | Office | Office | Daikin | FXFQ Series | 2020-03-15 | 15 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CCTV-L4 | CCTV Camera Set — L4 | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L4 | L4 Common Area | L4 Common Area | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FD-L4 | Fire Detection Loop — L4 | Fire Detection | Fire Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L4 | L4 Ceiling Void | L4 Ceiling Void | Advanced | MxPro 5 Loop | 2020-01-15 | 15 | Good | Operational | High | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
ACC-L4 | Access Control Reader — L4 | CCTV & Access Control | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L4 | L4 Office Entry | L4 Office Entry | HID | Signo Reader | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FCU-L5 | Fan Coil Unit — L5 | HVAC | Air Conditioning Unit | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L5 | Office | Office | Daikin | FXFQ Series | 2020-03-15 | 15 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CCTV-L5 | CCTV Camera Set — L5 | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L5 | L5 Common Area | L5 Common Area | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FD-L5 | Fire Detection Loop — L5 | Fire Detection | Fire Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L5 | L5 Ceiling Void | L5 Ceiling Void | Advanced | MxPro 5 Loop | 2020-01-15 | 15 | Good | Operational | High | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
ACC-L5 | Access Control Reader — L5 | CCTV & Access Control | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L5 | L5 Office Entry | L5 Office Entry | HID | Signo Reader | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FCU-L6 | Fan Coil Unit — L6 | HVAC | Air Conditioning Unit | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L6 | Office | Office | Daikin | FXFQ Series | 2020-03-15 | 15 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CCTV-L6 | CCTV Camera Set — L6 | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L6 | L6 Common Area | L6 Common Area | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FD-L6 | Fire Detection Loop — L6 | Fire Detection | Fire Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L6 | L6 Ceiling Void | L6 Ceiling Void | Advanced | MxPro 5 Loop | 2020-01-15 | 15 | Good | Operational | High | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
ACC-L6 | Access Control Reader — L6 | CCTV & Access Control | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L6 | L6 Office Entry | L6 Office Entry | HID | Signo Reader | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FCU-L7 | Fan Coil Unit — L7 | HVAC | Air Conditioning Unit | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L7 | Office | Office | Daikin | FXFQ Series | 2020-03-15 | 15 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CCTV-L7 | CCTV Camera Set — L7 | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L7 | L7 Common Area | L7 Common Area | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FD-L7 | Fire Detection Loop — L7 | Fire Detection | Fire Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L7 | L7 Ceiling Void | L7 Ceiling Void | Advanced | MxPro 5 Loop | 2020-01-15 | 15 | Good | Operational | High | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
ACC-L7 | Access Control Reader — L7 | CCTV & Access Control | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L7 | L7 Office Entry | L7 Office Entry | HID | Signo Reader | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FCU-L9 | Fan Coil Unit — L9 | HVAC | Air Conditioning Unit | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L9 | Office | Office | Daikin | FXFQ Series | 2020-03-15 | 15 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CCTV-L9 | CCTV Camera Set — L9 | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L9 | L9 Common Area | L9 Common Area | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FD-L9 | Fire Detection Loop — L9 | Fire Detection | Fire Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L9 | L9 Ceiling Void | L9 Ceiling Void | Advanced | MxPro 5 Loop | 2020-01-15 | 15 | Good | Operational | High | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
ACC-L9 | Access Control Reader — L9 | CCTV & Access Control | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L9 | L9 Office Entry | L9 Office Entry | HID | Signo Reader | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FCU-L10 | Fan Coil Unit — L10 | HVAC | Air Conditioning Unit | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L10 | Office | Office | Daikin | FXFQ Series | 2020-03-15 | 15 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CCTV-L10 | CCTV Camera Set — L10 | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L10 | L10 Common Area | L10 Common Area | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FD-L10 | Fire Detection Loop — L10 | Fire Detection | Fire Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L10 | L10 Ceiling Void | L10 Ceiling Void | Advanced | MxPro 5 Loop | 2020-01-15 | 15 | Good | Operational | High | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
ACC-L10 | Access Control Reader — L10 | CCTV & Access Control | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L10 | L10 Office Entry | L10 Office Entry | HID | Signo Reader | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FCU-L11 | Fan Coil Unit — L11 | HVAC | Air Conditioning Unit | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L11 | Office | Office | Daikin | FXFQ Series | 2020-03-15 | 15 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CCTV-L11 | CCTV Camera Set — L11 | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L11 | L11 Common Area | L11 Common Area | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FD-L11 | Fire Detection Loop — L11 | Fire Detection | Fire Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L11 | L11 Ceiling Void | L11 Ceiling Void | Advanced | MxPro 5 Loop | 2020-01-15 | 15 | Good | Operational | High | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
ACC-L11 | Access Control Reader — L11 | CCTV & Access Control | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L11 | L11 Office Entry | L11 Office Entry | HID | Signo Reader | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FCU-L12 | Fan Coil Unit — L12 | HVAC | Air Conditioning Unit | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L12 | Office | Office | Daikin | FXFQ Series | 2020-03-15 | 15 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CCTV-L12 | CCTV Camera Set — L12 | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L12 | L12 Common Area | L12 Common Area | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FD-L12 | Fire Detection Loop — L12 | Fire Detection | Fire Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L12 | L12 Ceiling Void | L12 Ceiling Void | Advanced | MxPro 5 Loop | 2020-01-15 | 15 | Good | Operational | High | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
ACC-L12 | Access Control Reader — L12 | CCTV & Access Control | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L12 | L12 Office Entry | L12 Office Entry | HID | Signo Reader | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FCU-L13 | Fan Coil Unit — L13 | HVAC | Air Conditioning Unit | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L13 | Office | Office | Daikin | FXFQ Series | 2020-03-15 | 15 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CCTV-L13 | CCTV Camera Set — L13 | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L13 | L13 Common Area | L13 Common Area | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FD-L13 | Fire Detection Loop — L13 | Fire Detection | Fire Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L13 | L13 Ceiling Void | L13 Ceiling Void | Advanced | MxPro 5 Loop | 2020-01-15 | 15 | Good | Operational | High | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
ACC-L13 | Access Control Reader — L13 | CCTV & Access Control | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L13 | L13 Office Entry | L13 Office Entry | HID | Signo Reader | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FCU-L14 | Fan Coil Unit — L14 | HVAC | Air Conditioning Unit | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L14 | Office | Office | Daikin | FXFQ Series | 2020-03-15 | 15 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CCTV-L14 | CCTV Camera Set — L14 | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L14 | L14 Common Area | L14 Common Area | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
FD-L14 | Fire Detection Loop — L14 | Fire Detection | Fire Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L14 | L14 Ceiling Void | L14 Ceiling Void | Advanced | MxPro 5 Loop | 2020-01-15 | 15 | Good | Operational | High | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
ACC-L14 | Access Control Reader — L14 | CCTV & Access Control | Access Control Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L14 | L14 Office Entry | L14 Office Entry | HID | Signo Reader | 2020-06-15 | 8 | Good | Operational | Medium | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
AHU-002 | AHU — Serves Office Floors 2–7 | HVAC | Compressor | Tangible | Movable | Plant & Machinery | Dar es Salaam | Ilala | Zanzibar One Tower | L8 | Level 8 Mechanical Room | Level 8 Mechanical Room | Carrier | 39M-200 | 2020-03-01 | 15 | Good | Operational | High | 2026-05-28 | 2026-11-28 |  |  | 0 | 90
FD-L8 | Fire Detection Loop — L8 | Fire Detection | Fire Panel | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L8 | Level 8 Mechanical Room | Level 8 Mechanical Room | Advanced | MxPro 5 Loop | 2020-01-15 | 15 | Good | Operational | High | 2026-04-10 | 2026-10-10 |  |  | 0 | 90
CCTV-L8 | CCTV — Mechanical Floor L8 | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L8 | Level 8 Mechanical Room | Level 8 Mechanical Room | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Low | 2026-05-01 | 2026-11-01 |  |  | 0 | 90
CT-001 | Cooling Tower 1 | HVAC | Compressor | Tangible | Movable | Plant & Machinery | Dar es Salaam | Ilala | Zanzibar One Tower | L15 | Rooftop Level 15 | Rooftop Level 15 | BAC | Series 3000 | 2020-01-20 | 20 | Good | Operational | Critical | 2026-05-18 | 2026-11-18 |  |  | 0 | 90
CT-002 | Cooling Tower 2 | HVAC | Compressor | Tangible | Movable | Plant & Machinery | Dar es Salaam | Ilala | Zanzibar One Tower | L15 | Rooftop Level 15 | Rooftop Level 15 | BAC | Series 3000 | 2020-01-20 | 20 | Good | Operational | Critical | 2026-05-18 | 2026-11-18 |  |  | 0 | 90
AHU-003 | AHU — Serves Office Floors 9–14 | HVAC | Compressor | Tangible | Movable | Plant & Machinery | Dar es Salaam | Ilala | Zanzibar One Tower | L15 | Level 15 Mechanical Room | Level 15 Mechanical Room | Carrier | 39M-200 | 2020-03-01 | 15 | Good | Operational | High | 2026-05-28 | 2026-11-28 |  |  | 0 | 90
AHU-001 | AHU — Lobby & Ground Floor | HVAC | Compressor | Tangible | Movable | Plant & Machinery | Dar es Salaam | Ilala | Zanzibar One Tower | L15 | Level 15 Mechanical Room (serves L1) | Level 15 Mechanical Room (serves L1) | Carrier | 39M-080 | 2020-03-01 | 15 | Good | Operational | High | 2026-06-10 | 2026-12-10 |  |  | 0 | 90
CCTV-L15 | CCTV — Rooftop Plant | CCTV & Access Control | CCTV Camera | Tangible | Movable | Equipment | Dar es Salaam | Ilala | Zanzibar One Tower | L15 | Rooftop Level 15 | Rooftop Level 15 | Hikvision | DS-2CD Series | 2020-06-15 | 8 | Good | Operational | Low | 2026-05-01 | 2026-11-01 |  |  | 0 | 90

## Classification Legend
Old Class (in CSV) | New Class | Category | Nature | Mobility | Prefix
| Compressor | Plant & Machinery | Tangible | Movable
| Pump | Equipment | Tangible | Movable
| Access Control Panel | Equipment | Tangible | Movable
| CCTV Camera | Equipment | Tangible | Movable
| Boiler | Plant & Machinery | Tangible | Movable
| Lift / Elevator | Plant & Machinery | Tangible | Movable
| UPS | Equipment | Tangible | Movable
| Fire Panel | Equipment | Tangible | Movable
| Generator | Equipment | Tangible | Movable
| Air Conditioning Unit | Equipment | Tangible | Movable

## Instructions
HOW TO USE THIS FILE
1. Review the 'Backfill Import' sheet — every row is one of your 80 existing assets.
2. The yellow 'Acquisition Cost' column is blank — fill in actual purchase prices (Tshs).
If you don't know the cost, leave it blank; depreciation won't calculate for that asset.
3. Check 'Condition' column — I mapped Operational→Good, Scheduled Maintenance→Fair,
Needs Attention→Poor. Override any that don't match reality.
4. Check 'Region' and 'District' — I set all to Dar es Salaam / Ilala. Change if wrong.
5. Once reviewed, paste/import these values into your Airtable Components table
(the new columns you added: Asset Nature, Mobility, Asset Category, Region, etc.)
6. The 'Classification Legend' sheet shows how each asset type was mapped.
NOTE: Asset IDs stay exactly as they are. New assets added through the dashboard will
get auto-generated IDs (PUMP-001 etc), but existing ones keep their current IDs.